Construction and Materials for Williamson Amphitheater

Split-Faced Block for all walls except the Interior walls separating the two lavatories and the electrical closet.  Those walls may be regular concrete block.

The City will acid stain all concrete walls to blend with the existing stage walls

Metal Frame for Stage Roof and Light/Sound Trusses

All Metal Doors

Metal Roof Material

Metal Steps for Rear Access to Green Room

Plumbing Fixtures Installed in Restrooms: Two Toilets, Two Sinks (One of Each in Each Restroom)

Existing Electrical Panel Installed in Electrical Closet

Lights and switches Installed in Restrooms (One Overhead Light and One Switch Each, and Associated Wiring Run)

Lights and Switch Installed in Green Room (One Overhead Light, One Switch, and Associated Wiring Run)